## Лист1
ER | Requests Energy-Ready status
EF | Requests value of energy flag
PL | 0 for query (default if no parameter sent).
1 Set to Short Pulse mode
2 Set to Long Pulse mode
RN | Requests the measurement range that the instrument is now using
SE | Requests single pulse energy currently measured
SP | Requests present power reading
$WD 4 1064 | set wavelength stored in index 4 to 1064nm
$WI 4 | set head to work with wavelength at index 4
$WL 1064 | (set wavelength to 633nm)
WN | Write Range 0…4
AW | Returns string fully describing the wavelengths that the head is
configured to work with